|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **CLIENT:** Lycan Products Inc.**Project:** Cannabis Samples |  |  | **Collection Date:** | 12/27/2019 10:30:00 AM |
| **Lab ID:** 1912408-004 |  |  | **Matrix:** | CANNABIS |
| **Client Sample ID:** Super Bud  |  |  |  |  |
| **Sample Location:** |  |  |  |  |
| **Analyses** | **Result** | **PQL Qual** | **Units DF** | **PL Date Analyzed** |
| **CANNIBIS FULL PANEL W/PESTICIDES INITIAL WEIGHT OR VOLUME - N** |  |  | **BALANCE** | Analyst: **KP** |
| Initial Weight or Volume | 6.06 | 0 | g 1 | 12/27/2019 8:08:00 PM |
| Final Weight or Volume | 3.76 | 0 | g 1 | 12/27/2019 8:08:00 PM |
| **CANNIBIS FULL PANEL W/PESTICIDES HEAVY METALS BY ICP - N** |  |  | **SOP-4** | **-** Analyst: **KR** |
| Arsenic | Pass | 0.400 | ppm 1 | 0.400 1/7/2020 3:50:20 PM |
| Cadmium | Pass | 0.400 | ppm 1 | 0.400 1/7/2020 3:50:20 PM |
| Lead | Pass | 1.00 | ppm 1 | 1.00 1/7/2020 3:50:20 PM |
| Mercury | Pass | 0.200 | ppm 1 | 0.200 1/7/2020 3:50:20 PM |
| **CANNIBIS FULL PANEL W/PESTICIDES CANNABIS MICROBIALS - N** |  |  | **SOP-7** | Analyst: **KP** |
| Aerobic Plate Count | Pass | 0 | CFU/g 1 | 10,000,0 1/2/2020 11:04:00 AM |
| E. coli | Pass | 0 | CFU/g 1 | 1.00 1/2/2020 11:04:00 AM |
| Salmonella | Pass | 0 | CFU/g 1 | 1.00 1/2/2020 11:04:00 AM |
| Staphylococcus aureus | Pass | 0 | CFU/g 1 | 1.00 1/2/2020 11:04:00 AM |
| Yeast and Mold | Pass | 0 | CFU/g 1 | 10,000 1/2/2020 11:04:00 AM |
| **CANNIBIS FULL PANEL W/PESTICIDES PESTICIDE RESIDUE IN CANNABIS - N** |  |  | **SOP-2** | **-** Analyst: **BW** |
| Abamectin | Pass | 0.492 | ppm 1 | 0.500 1/7/2020 2:00:00 PM |
| Azoxystrobin | Pass | 0.492 | ppm 1 | 0.500 1/7/2020 2:00:00 PM |
| Bifenazate | Pass | 0.492 | ppm 1 | 0.500 1/7/2020 2:00:00 PM |
| Etoxazole | Pass | 0.492 | ppm 1 | 0.500 1/7/2020 2:00:00 PM |
| Imazalil | Pass | 0.492 | ppm 1 | 0.500 1/7/2020 2:00:00 PM |
| Imidacloprid | Pass | 0.492 | ppm 1 | 0.500 1/7/2020 2:00:00 PM |
| Malathion | Pass | 0.492 | ppm 1 | 0.500 1/7/2020 2:00:00 PM |
| Myclobutanil | Pass | 0.492 | ppm 1 | 0.500 1/7/2020 2:00:00 PM |
| Permethrin (cis&trans) | Pass | 0.492 | ppm 1 | 0.500 1/7/2020 2:00:00 PM |
| Spinosad | Pass | 0.492 | ppm 1 | 0.500 1/7/2020 2:00:00 PM |
| Spiromesifen | Pass | 0.492 | ppm 1 | 0.500 1/7/2020 2:00:00 PM |
| Spirotetramat | Pass | 0.492 | ppm 1 | 0.500 1/7/2020 2:00:00 PM |

)

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **CLIENT:** Lycan Products Inc.**Project:** Cannabis Samples |  |  | **Collection Date:** | 12/27/2019 10:30:00 AM |
| **Lab ID:** 1912408-004 |  |  | **Matrix:** | CANNABIS |
| **Client Sample ID:** Super Bud |  |  |  |  |
| **Sample Location:** |  |  |  |  |
| **Analyses** | **Result** | **PQL Qual** | **Units DF** | **PL Date Analyzed** |
| **CANNIBIS FULL PANEL W/PESTICIDES PESTICIDE RESIDUE IN CANNABIS - N** |  |  | **SOP-2** | **-** Analyst: **BW** |
| Tebuconazole | Pass | 0.492 | ppm 1 | 0.500 1/7/2020 2:00:00 PM |
| **CANNIBIS FULL PANEL W/PESTICIDES POTENCY IN CANNABIS - N** |  |  | **SOP-1** | **-** Analyst: **KP** |
| Cannabidiol (CBD) | < 0.204 | 0.204 | wt% 1 | 1/10/2020 10:43:00 AM |
| Cannabidiolic Acid (CBDA) | < 0.204 | 0.204 | wt% 1 | 1/10/2020 10:43:00 AM |
| Cannabigerol (CBG) | < 0.204 | 0.204 | wt% 1 | 1/10/2020 10:43:00 AM |
| Cannabinol (CBN) | < 0.204 | 0.204 | wt% 1 | 1/10/2020 10:43:00 AM |
| Tetrahydrocannabinol (THC) | 0.361 | 0.204 | wt% 1 | 1/10/2020 10:43:00 AM |
| Tetrahydrocannabinolic Acid (THCA | 23.8 | 0.204 | wt% 1 | 1/10/2020 10:43:00 AM |
| THC - Delta 8 | < 0.204 | 0.204 | wt% 1 | 1/10/2020 10:43:00 AM |
| Total CBD | < 0.204 | 0.204 | wt% 1 | 1/10/2020 10:43:00 AM |
| Total THC | 22.4 | 0.204 | wt% 1 | 1/10/2020 10:43:00 AM |
| **CANNIBIS FULL PANEL W/PESTICIDES TERPENES IN CANNABIS - N** |  |  | **SOP-5** | **-** Analyst: **BW** |
| (-)-alpha-Bisabolol | < 43.5 | 43.5 | ppm 1 | 1/3/2020 9:44:36 PM |
| (-)-beta-Pinene | 1,710 | 43.5 | ppm 1 | 1/3/2020 9:44:36 PM |
| (-)-Guaiol | < 43.5 | 43.5 | ppm 1 | 1/3/2020 9:44:36 PM |
| (-)-Isopulegol | < 43.5 | 43.5 | ppm 1 | 1/3/2020 9:44:36 PM |
| 1,8-Cineole | < 43.5 | 43.5 | ppm 1 | 1/3/2020 9:44:36 PM |
| alpha-Humulene | 416 | 43.5 | ppm 1 | 1/3/2020 9:44:36 PM |
| alpha-Ocimene | < 43.5 | 43.5 | ppm 1 | 1/3/2020 9:44:36 PM |
| alpha-Pinene | 3,190 | 43.5 | ppm 1 | 1/3/2020 9:44:36 PM |
| alpha-Terpinene | 65.2 | 43.5 | ppm 1 | 1/3/2020 9:44:36 PM |
| beta-Caryophyllene | 995 | 43.5 | ppm 1 | 1/3/2020 9:44:36 PM |
| beta-Myrcene | 1,130 | 43.5 | ppm 1 | 1/3/2020 9:44:36 PM |
| beta-Ocimene | 237 | 43.5 | ppm 1 | 1/3/2020 9:44:36 PM |
| Camphene | 103 | 43.5 | ppm 1 | 1/3/2020 9:44:36 PM |
| Caryophyllene oxide | 90.4 | 43.5 | ppm 1 | 1/3/2020 9:44:36 PM |
| cis-Nerolidol | 618 | 43.5 | ppm 1 | 1/3/2020 9:44:36 PM |
| delta-3-Carene | 98.0 | 43.5 | ppm 1 | 1/3/2020 9:44:36 PM |

|  |  |  |  |
| --- | --- | --- | --- |
| **CLIENT:** Lycan Products Inc.**Project:** Cannabis Samples |  |  | **Collection Date:** 12/27/2019 10:30:00 AM |
| **Lab ID:** 1912408-004 |  |  | **Matrix:** CANNABIS |
| **Client Sample ID:** Super Bud |  |  |  |
| **Sample Location:** |  |  |  |
| **Analyses** | **Result** | **PQL Qual** | **Units DF PL Date Analyzed** |
| **CANNIBIS FULL PANEL W/PESTICIDES TERPENES IN CANNABIS - N** |  |  | **SOP-5 -** Analyst: **BW** |
| D-Limonene | 1,160 | 43.5 | ppm 1 1/3/2020 9:44:36 PM |
| gamma-Terpinene | 65.7 | 43.5 | ppm 1 1/3/2020 9:44:36 PM |
| Geraniol | < 43.5 | 43.5 | ppm 1 1/3/2020 9:44:36 PM |
| Linalool | 200 | 43.5 | ppm 1 1/3/2020 9:44:36 PM |
| p-Isopropyltoluene | 113 | 43.5 | ppm 1 1/3/2020 9:44:36 PM |
| Terpinolene | 981 | 43.5 | ppm 1 1/3/2020 9:44:36 PM |
| Total Terpenes | 11,200 | 0 | ppm 1 1/3/2020 9:44:36 PM |
| trans-Nerolidol | 45.1 | 43.5 | ppm 1 1/3/2020 9:44:36 PM |
| **CANNIBIS FULL PANEL W/PESTICIDES VISUAL INSPECTION OF CANNABIS - N** |  |  | **ICROSCOPE 180** Analyst: **KP** |
| 1/4 area Foreign Material | Pass | 1.0 | Each 1 12/27/2019 8:17:00 PM |
| 1/4 area Mold | Pass | 1.0 | Each 1 12/27/2019 8:17:00 PM |
| 1/4 area Soil / Dirt / Sand | Pass | 1.0 | Each 1 12/27/2019 8:17:00 PM |
| Excreta, Mammalian | Pass | 1.0 | Each 1 12/27/2019 8:17:00 PM |
| Hair, Human | Pass | 1.0 | Each 1 12/27/2019 8:17:00 PM |
| Hair, Rodent | Pass | 1.0 | Each 1 12/27/2019 8:17:00 PM |
| Insect Fragment | Pass | 1.0 | Each 1 12/27/2019 8:17:00 PM |